Landis & Staefa

CH-6300 Zug

Instructions

Date			April 15, 1998				Direct Tel.	041 724 50 22

Author			HP Teufer, Alois Herger		Direct Fax	041 724 31 49

Document Number:	PD417-4.26.1

Distribution:

Project Team

Participants Beta Test (GC)

New VISOTOOL Editor

Organisation and Execution of Beta - Test

Content

1. Goal

2. Organisation

2.1 Critical points, Priorities

2.2 Feedback, Error reports, reproducibility

3. Priorities (in descending order)

4. Functional tests

4.1 Installation, platforms

4.2 Trend/Watch functionality

4.3 Communication

4.4 Take-over of data

4.5 Off-line Functions

5. General impressions

6. Appendix

# 1. Goal

This Beta test should point at problems or errors in the pre-release of the New Visotool Editor. Your feed-back will help us to eliminate bugs and to correct the design if necessary.

The following scenarios will give instructions on a systematic way on how to look at the new tool, and for us as developers a reasonable feed-back. The scenarios are not intended as a description of detailed test cases.

Focus of the Beta Test

- Installation of New Visotool Editor on many different, GC-specific PC platforms (Hardware, Operating system)

- Test of new Trend/Watch functionality

- Communicating with different partner systems, versions and communication types

- Take-over of data from existing projects

# 2. Organisation

We are inviting a selected sample of experienced Visotool users in our GCs to test the New VISOTOOL Editor under realistic conditions, and to give their feed-back to the development team.

Dates of Beta-Test

| Begin / End of Beta-Test | Weeks 9816 - 9822 |
| --- | --- |
| Responsible | P. Wehrli, PMD T&C / 4871 |
| Feedback (Reports) to | P. Wehrli, PMD T&C / 4871 |
| Participant Beta-Test (GC) | see Appendix |
| Deliverables for Beta-Test | - SW Version ‘Beta-Test’ (e) (4 Disks) - Document ‘Instructions for Beta-Test’ - Document ‘Known bugs and limitations’ - Feed-back sheets ‘Configuration’, ‘Log book’ and ‘Problem report’ |

### 2.1 Critical points, Priorities

We expect that not all of the tool functions could have been used by all the testers. Chapter 3 indicates our priorities and the operations which should be carried out at least.

### 2.2 Feedback, Error reports, reproducibility

All steps carried out and the conditions of use should be logged in a Test Report, Log book and Configuration report. Problems should be reported on separate sheets.

# 3. Priorities (in descending order)

1. Installation and operation of the tool on different PC platforms

- Operating systems

- Win95 English, German, Swedish, others

- WinNT Workstation

- PC Hardware

- Service PC (Laptop)

- Office PC (Desktop)

- DESIGO Insight WS (conformance Platform)

- Country-specific settings used in GC

- 2. Trend/Watch functionality

- Available functionality

- Ease of use

- Data/Picture export via Cipboard

- 3. Communication

- Communication types

- Direct connection

- Telephony

- Network connection

- Partner systems (DCS, Process devices (PD))

- Load/Save (Upload/Download)

- Terminal emulation

- 4. Data take-over

- Data conversion of configuration data from PD

- (including GC-specific conversion procedures)

- Data conversion of configuration data from PD via DCS

- (including GC-specific conversion procedures)

- Data conversion at take-over of existing VISOTOOL files

- 5. Off-line Functions

- Off-line Editor

- Save/Restore Workspace

# 4. Functional tests

## 4.1 Installation, platforms

Goal			Verification of tool installation on GC-specific Tool-PCs,

basic functions, country specific setup

Preconditions	Correct installed Operating System

| Steps | Check |
| --- | --- |
| Installation of VISOTOOL Editor (Configuration Report) | - Complete and correct installation |
| Basic Sanity Test | - Tool starts - All texts (menus, screens, messages) appear in language set-up - Dialogue entries are correctly treated - Tool operation with mouse and keyboard |

## 4.2 Trend/Watch functionality

Goal:			Verification of functionality

Preconditions:	Completed tool installation,

Process device connected (EKL-X, PRV1, PRV2)

Printer available

evtl. MS Excel available.

| Steps | Check |
| --- | --- |
| Creation of Trend/Watch Profile | - Ease of use - Necessary attributes available |
| - Data Acquisition | - Robustness - Reliability - Acquisition interval |
| - Data/Curve presentation and handling | - Keybaord handling (Pg-Up, -Down, Arrow keys, ..) - Readable on HW plattform - Chart properties OK |
| - Data/Picture export via Clipboard and printing | - Necessary data exported - Ease of use - Printing OK |

## 4.3 Communication

Goal:			Verification of communication

Preconditions:	Completed tool installation,

Process devices (EKL-X, PRV1, PRV2) and DCS

Communication devices

| Steps | Check |
| --- | --- |
| Connect Process devices and servers with VISOTOOL, start communication (Communications Report) | - Identification of partner devices - Terminal emulation with - PD: Immediate Mode - DCS: Parameter dialogues - Up-/Download of configuration data - Behaviour of VISOTOOL on communication problems (break-downs, switched-off PD or DCS) (Forcing of communication breaks and disturbance) |

## 4.4 Take-over of data

Goal		Verification of data take-over of existing projects

Preconditions 	Additional VISOTOOL Version 12.50

GC-specific conversion procedures

| Steps | Check |
| --- | --- |
| Preparation: - Loading configuration data with Tool Version (V12.50) - into PG via direct connection (V.24) - into PG via DCS |  |
| - Loading configuration data - from PG via direct connection (V.24) | - All data is correct displayed in New VISOTOOL Editor (country specific characters (Umlaut)) |
| - Reading configuration data files from existing Tool Version (V12.50) | - All data is correct displayed in New VISOTOOL Editor (country specific characters (Umlaut)) |
| - Loading configuration data from DCS | - All data is correct displayed in New VISOTOOL Editor (country specific characters (Umlaut)) |

Overview of data take-over

Step

| 1 | Download configuration data from existing VISOTOOL Editor (V12.50) into process device |
| --- | --- |
| 2 | Upload configuration data from PD into New VISOTOOL Editor. |
| 3 | Download configuration data from existing VISOTOOL Editor (V12.50) into PD via DCS, then step 2) regarding GC-specific data conversion procedures. |
| 4 | Read configuration files from existing VISOTOOL Editor (V12.50) |

## 4.5 Off-line Functions

| Goal | Verification of important off-line functions |
| --- | --- |
| Preconditions | Completed tool installation |

| Steps | Check |
| --- | --- |
| - Off-line Editor | - Edit Colbas Tasks (if possible check with different Colbas versions) |
| - Save/Restore Workspace: VISOTOOL Close Editor and restart | - Workspace correctly rebuilt after restarting the tool (Window position and content) |

# 5. General impressions

Please give us your impressions on the New VISOTOOL editor.

Criteria:

- General impressions, usability, 3 Highlights + 3 Lowlights

- Stability

- Robustness

- Performance

- Dialogues, user friendliness

- Workflow support

- Help (content, was it helpful)

# 6. Appendix

- Form Configuration Report / Log Book

- Form Communications Checklist

- Form Incident Report

Please make copies if necessary !

Configuration Report / Log Book

Platform Nbr. (Ref. #) : [              ]  (Use separate sheet for each platform)

| Tester (Name, Phone, GC) | Date (Day.Month.Year) | SW-Version (x.yy) |
| --- | --- | --- |

| PC specification |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PC type/brand | Processor | RAM (MB) | Operating System | OS language | Application language |
| - Desktop - Laptop - ................. | - 486 - Pentium - .................. - MHz........... | - 8 - 16 - 32 - ................... | ¨ Win 95 ¨ Win NT | - English - German - ................... | - English - German - ................... |

| Display type | Display resolution |  |
| --- | --- | --- |

| Uses of New VISOTOOL Editor |  |  |  |
| --- | --- | --- | --- |
| Day | Nbr. of hours | Main tasks (please detail on problems) | Problems and comments |

Please return to : P. Wehrli, L&S CB/PMD T&C/4871, CH-6300 Zug

Communications Checklist

Platform Nbr. (Ref. #) : [              ]  (Use separate sheet for each platform)

| Tester (Name, Phone, GC) | Date (Day.Month.Year) | SW-Version (x.yy) |
| --- | --- | --- |

| Connection | Partner | Checked functions | Problems and comments |
| --- | --- | --- | --- |
| - V.24 | Version - EKL-X ................. - PRV1 ................. - PRV2 ................. - DCS ................. | - Device Identification - Terminal Emulat. - Upload/Download - Data conversion |  |
| - Telephony | Version - EKL-X .................. - PRV1 .................. - PRV2 .................. - DCS .................. | - Device Identification - Terminal Emulat. - Upload/Download - Data conversion |  |
| - Network | Version - EKL-X ................. - PRV1 ................. - PRV2 ................. - DCS ................. | - Device Identification - Terminal Emulat. - Upload/Download - Data conversion |  |

Problems and comments

Please return to : P. Wehrli, L&S CB/PMD T&C/4871, CH-6300 Zug

Incident Report Beta Test

| Tester (Name, Phone, GC) | Report number | Date (Day.Month.Year) | SW-Version (x.yy) |
| --- | --- | --- | --- |

| PC specification or Ref.-#: [ ] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PC type | Processor | RAM | Operating System |  |  | OS language | Application language |
| o Desktop o Laptop o ................ | o 486 o Pentium o .............. o MHz ......... | o 4 o 8 o 16 o 32 o .............. | o Win 95 o WinNT | ............... | o English o German o .............. |  | o English o German o .............. |
| Display type |  | Display resolution |  |  |  |  |  |

| Error type |  |  |  |  | Reproducible |  |  | New requirement |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| o Crash | o Severe | o Med. | o Small | o Cosmetic | o Yes | o No | o Partly | o Wish | o Must |

Main functions involved

o Installation o Online Terminal emulation o Online Upload/Download o Off-line Editor o Trend/Watch o other : ..................

Description of error

Problems / consequences / previous actions / other running programs

| Message processing (PDM T&C internal) |  |  |  |
| --- | --- | --- | --- |
| Current Msg Number | Severity Project leader | Process until | Control processing date |

Please return to : P. Wehrli, L&S CB/PMD T&C/4871, CH-6300 Zug